Before you apply for permanent registration
Gujarat Clinical Establishments Act 2021, sections 19 to 26, and Rule 17. Tick what is ready and note where the evidence is kept.
Certificates to upload on Annexure-1A, as applicable (item 17)
	Certificate
	Applies to us? (Yes / No)
	Ready? (Yes / No)
	Number and valid till
	Where the original is kept

	Fire safety NOC or certificate issued by the competent authority
	
	
	
	

	Biomedical waste management certificate issued by GPCB
	
	
	
	

	AERB authorisation (radiology)
	
	
	
	

	Certificate under the Drugs and Cosmetics Act
	
	
	
	

	Authorisation under the PC-PNDT Act, 1994
	
	
	
	

	Registration under the ART (Regulation) Act, 2021
	
	
	
	

	Registration under the Surrogacy (Regulation) Act, 2021
	
	
	
	

	Blood bank licence or blood storage authorisation
	
	
	
	

	5 to 10 photographs of the establishment from different angles
	
	
	
	


The steps to a permanent certificate
	Step
	What happens
	Our date

	Apply (s.19)
	Permanent registration application on the portal (Annexure-1A) with the prescribed fee
	

	Evidence (s.20)
	Submit evidence of meeting the minimum standards (Annexure-9)
	

	Public display (s.21)
	The Authority displays the evidence for 30 days for objections
	

	Objections (s.22)
	Any objection is sent to you; you have 45 days to respond
	

	Inspection (Rule 17)
	Team intimates in advance, inspects premises, equipment and staff qualifications; report on Annexure-12 within a week
	

	Order (s.24)
	Allowed or disallowed within 30 days after the period; reasons recorded if disallowed
	

	Certificate (s.25)
	Valid five years; apply to renew within the six months before expiry
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Hospital or nursing home: building, staff and services
Annexure-12, part IV (Hospital), with the Annexure-9 infection control audit. Yes / No as the inspector would ask it.
Building, wards and staff
	Checklist item
	Yes / No
	Evidence or note

	Waiting room with sufficient space for patients and attendants
	
	

	Wards: adequate space, light and ventilation
	
	

	Fan, cooler or AC in each room; one fan per two beds in a common ward
	
	

	Toilets with adequate water, cleaned twice a day with antiseptic
	
	

	Wards cleaned twice a day with antiseptic
	
	

	Specialist doctor for each specialist service offered
	
	

	One RMP for every 30 beds on duty, day and night (RMP on call up to 30 beds at night)
	
	

	ICU, if any: one RMP physically present per 10 ICU beds, round the clock
	
	

	Qualified nurses for the bed capacity as per Indian Nursing Council norms
	
	

	More than 30 beds: third-party infection control audit every 3 months, report displayed (Annexure-9)
	
	


Services and general facilities
	Checklist item
	Yes / No
	Evidence or note

	Pharmacy, if any, follows government rules
	
	

	Laboratory tests (other than urine albumin, sugar, Hb) done by a qualified technician
	
	

	X-rays taken by a qualified technician
	
	

	USG, CT, MRI, Doppler performed by a doctor only
	
	

	Blood bank, if any, meets Government of India standards
	
	

	50 or more beds: own ambulance with qualified driver, or an MoU
	
	

	Kitchen, if any: cleaned daily, cooks medically examined, FSSAI followed
	
	

	Biomedical waste segregated at the point of generation
	
	

	Annexure-10 registers A to E kept
	
	

	Medico-legal case records as per government guidelines
	
	

	More than 100 beds: mortuary or freezer room
	
	

	Potable and hot water supply
	
	

	Bed sheets and linen changed daily
	
	

	Fire safety certificate or NOC available
	
	

	Names of RMPs and facilities displayed in the hospital
	
	

	Security for patients and their belongings
	
	

	Enough wheelchairs, trolleys and stretchers
	
	

	Generator or UPS for essential services
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Labour room
Annexure-12, part IV(12): for a hospital that maintains a labour room and conducts deliveries.
Room and staff
	Checklist item
	Yes / No
	Evidence or note

	Separate room to prepare the patient for delivery, with sufficient water
	
	

	Labour room area 120 sq ft or more
	
	

	Well ventilated, sufficient light
	
	

	Space for the newborn with resuscitation
	
	

	Deliveries conducted by: RMP / staff nurse / ANM (tick)
	
	

	RMP on call for emergency or newborn resuscitation
	
	

	Maternity hospital with regular deliveries: duty RMP round the clock
	
	

	Paediatrician on call
	
	


Equipment, drugs and records (tick what is available)
	Equipment
	Available
	Drug
	Available
	Record
	Available

	Labour table with lithotomy stand
	
	Inj. methylergometrine
	
	Birth register
	

	Oxygen cylinder with mask
	
	Inj. oxytocin
	
	Birth intimation slip
	

	P.V. tray
	
	Inj. carboprost tromethamine
	
	Case sheets and notes
	

	Vacuum extractor or forceps set
	
	Inj. magnesium sulphate
	
	Register for babies and mothers (to prevent child changing)
	

	Sterile cord clamp
	
	Absorbable suture material
	
	
	

	Suction apparatus
	
	Inj. diazepam
	
	
	

	Baby resuscitation set
	
	2% lignocaine
	
	
	

	Baby warmer (a light may also do)
	
	Inj. vitamin K
	
	
	

	
	
	Inj. tetanus toxoid
	
	
	

	
	
	IV fluids
	
	
	

	
	
	Tab. misoprostol 200 mcg
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Operation theatres
Annexure-12, part IV(13).
Minor operation theatre
	Checklist item
	Yes / No
	Evidence or note

	Space not less than 100 sq ft, adequate light and ventilation
	
	

	Surgeries by a qualified RMP; qualified nurse allocated
	
	

	Operation table, autoclave, minor surgical set, regional anaesthesia equipment
	
	

	Emergency drug tray; anaesthesia apparatus with oxygen and nitrous oxide; suction; baby resuscitation set
	
	

	Register of all surgeries done in the minor OT
	
	


Main operation theatre
	Checklist item
	Yes / No
	Evidence or note

	Space at least 150 sq ft, air-conditioned
	
	

	Patient waiting area; a cot for post-operative recovery
	
	

	Space for autoclave, sterilisation and scrubbing; running tap water in the scrub room
	
	

	Arrangements for fumigation
	
	

	OT swab culture at least once a month, with a register
	
	

	Qualified anaesthetist or doctor trained in anaesthesia; surgeries by qualified doctors; OT nursing head
	
	

	Operating table, anaesthesia apparatus, multipara monitor, suction (preferably two), autoclave, resuscitation equipment and drugs, defibrillator
	
	

	Operation register as per Annexure-10 Part E
	
	

	Biopsy reports entered in a register, where required
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Medical records the inspector checks
Annexure-12, part IV(15), with Rules 14 and 15. The official table asks whether each record is kept electronically or manually.
Records maintained in the hospital
	Record
	Electronically
	Manually
	Who keeps it

	Admission and discharge register
	
	
	

	Case sheets
	
	
	

	Referrals
	
	
	

	Infectious and communicable disease register
	
	
	

	Immunisation particulars
	
	
	

	Family welfare services
	
	
	

	Medico-legal records
	
	
	

	Maternal death record
	
	
	

	Infant death record
	
	
	

	1 to 5 years child death records
	
	
	

	Any other record required by the government
	
	
	


How long to keep them
	OPD records
	At least 2 years, electronically (Rule 15(3))

	IPD records
	At least 5 years (Rule 15(3))

	Maternity: full record of the pregnancy, and a case record of each child born
	At least 10 years (Annexure-12, part IV(3))

	Court, medico-legal or consumer forum cases
	Until the case is finally disposed of (Rule 15(3))

	Staff names, addresses, qualifications and equipment
	In electronic form; changes reported to the Authority half-yearly (Rule 14(b))
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