# Before you apply for permanent registration

Gujarat Clinical Establishments Act 2021, sections 19 to 26, and Rule 17. Tick what is ready and note where the evidence is kept.

## Certificates to upload on Annexure-1A, as applicable (item 17)

| Certificate | Applies to us? (Yes / No) | Ready? (Yes / No) | Number and valid till | Where the original is kept |
| --- | --- | --- | --- | --- |
| Fire safety NOC or certificate issued by the competent authority |  |  |  |  |
| Biomedical waste management certificate issued by GPCB |  |  |  |  |
| AERB authorisation (radiology) |  |  |  |  |
| Certificate under the Drugs and Cosmetics Act |  |  |  |  |
| Authorisation under the PC-PNDT Act, 1994 |  |  |  |  |
| Registration under the ART (Regulation) Act, 2021 |  |  |  |  |
| Registration under the Surrogacy (Regulation) Act, 2021 |  |  |  |  |
| Blood bank licence or blood storage authorisation |  |  |  |  |
| 5 to 10 photographs of the establishment from different angles |  |  |  |  |

## The steps to a permanent certificate

| Step | What happens | Our date |
| --- | --- | --- |
| Apply (s.19) | Permanent registration application on the portal (Annexure-1A) with the prescribed fee |  |
| Evidence (s.20) | Submit evidence of meeting the minimum standards (Annexure-9) |  |
| Public display (s.21) | The Authority displays the evidence for 30 days for objections |  |
| Objections (s.22) | Any objection is sent to you; you have 45 days to respond |  |
| Inspection (Rule 17) | Team intimates in advance, inspects premises, equipment and staff qualifications; report on Annexure-12 within a week |  |
| Order (s.24) | Allowed or disallowed within 30 days after the period; reasons recorded if disallowed |  |
| Certificate (s.25) | Valid five years; apply to renew within the six months before expiry |  |

Self-check built from Annexure-9 (minimum standards) and Annexure-12 (inspection checklist) of the Gujarat Clinical Establishments (Registration and Regulation) Amendment Rules, 2024 (Gujarat Government Gazette Extraordinary No. 74, 13 March 2024). Not an official form: the inspection team fills Annexure-12. Verify the current rules on clinicalestablishment.gipl.in. Template by MedStream · medstream.in · free to use and adapt.

# Hospital or nursing home: building, staff and services

Annexure-12, part IV (Hospital), with the Annexure-9 infection control audit. Yes / No as the inspector would ask it.

## Building, wards and staff

| Checklist item | Yes / No | Evidence or note |
| --- | --- | --- |
| Waiting room with sufficient space for patients and attendants |  |  |
| Wards: adequate space, light and ventilation |  |  |
| Fan, cooler or AC in each room; one fan per two beds in a common ward |  |  |
| Toilets with adequate water, cleaned twice a day with antiseptic |  |  |
| Wards cleaned twice a day with antiseptic |  |  |
| Specialist doctor for each specialist service offered |  |  |
| One RMP for every 30 beds on duty, day and night (RMP on call up to 30 beds at night) |  |  |
| ICU, if any: one RMP physically present per 10 ICU beds, round the clock |  |  |
| Qualified nurses for the bed capacity as per Indian Nursing Council norms |  |  |
| More than 30 beds: third-party infection control audit every 3 months, report displayed (Annexure-9) |  |  |

## Services and general facilities

| Checklist item | Yes / No | Evidence or note |
| --- | --- | --- |
| Pharmacy, if any, follows government rules |  |  |
| Laboratory tests (other than urine albumin, sugar, Hb) done by a qualified technician |  |  |
| X-rays taken by a qualified technician |  |  |
| USG, CT, MRI, Doppler performed by a doctor only |  |  |
| Blood bank, if any, meets Government of India standards |  |  |
| 50 or more beds: own ambulance with qualified driver, or an MoU |  |  |
| Kitchen, if any: cleaned daily, cooks medically examined, FSSAI followed |  |  |
| Biomedical waste segregated at the point of generation |  |  |
| Annexure-10 registers A to E kept |  |  |
| Medico-legal case records as per government guidelines |  |  |
| More than 100 beds: mortuary or freezer room |  |  |
| Potable and hot water supply |  |  |
| Bed sheets and linen changed daily |  |  |
| Fire safety certificate or NOC available |  |  |
| Names of RMPs and facilities displayed in the hospital |  |  |
| Security for patients and their belongings |  |  |
| Enough wheelchairs, trolleys and stretchers |  |  |
| Generator or UPS for essential services |  |  |

Self-check built from Annexure-9 (minimum standards) and Annexure-12 (inspection checklist) of the Gujarat Clinical Establishments (Registration and Regulation) Amendment Rules, 2024 (Gujarat Government Gazette Extraordinary No. 74, 13 March 2024). Not an official form: the inspection team fills Annexure-12. Verify the current rules on clinicalestablishment.gipl.in. Template by MedStream · medstream.in · free to use and adapt.

# Labour room

Annexure-12, part IV(12): for a hospital that maintains a labour room and conducts deliveries.

## Room and staff

| Checklist item | Yes / No | Evidence or note |
| --- | --- | --- |
| Separate room to prepare the patient for delivery, with sufficient water |  |  |
| Labour room area 120 sq ft or more |  |  |
| Well ventilated, sufficient light |  |  |
| Space for the newborn with resuscitation |  |  |
| Deliveries conducted by: RMP / staff nurse / ANM (tick) |  |  |
| RMP on call for emergency or newborn resuscitation |  |  |
| Maternity hospital with regular deliveries: duty RMP round the clock |  |  |
| Paediatrician on call |  |  |

## Equipment, drugs and records (tick what is available)

| Equipment | Available | Drug | Available | Record | Available |
| --- | --- | --- | --- | --- | --- |
| Labour table with lithotomy stand |  | Inj. methylergometrine |  | Birth register |  |
| Oxygen cylinder with mask |  | Inj. oxytocin |  | Birth intimation slip |  |
| P.V. tray |  | Inj. carboprost tromethamine |  | Case sheets and notes |  |
| Vacuum extractor or forceps set |  | Inj. magnesium sulphate |  | Register for babies and mothers (to prevent child changing) |  |
| Sterile cord clamp |  | Absorbable suture material |  |  |  |
| Suction apparatus |  | Inj. diazepam |  |  |  |
| Baby resuscitation set |  | 2% lignocaine |  |  |  |
| Baby warmer (a light may also do) |  | Inj. vitamin K |  |  |  |
|  |  | Inj. tetanus toxoid |  |  |  |
|  |  | IV fluids |  |  |  |
|  |  | Tab. misoprostol 200 mcg |  |  |  |

Self-check built from Annexure-9 (minimum standards) and Annexure-12 (inspection checklist) of the Gujarat Clinical Establishments (Registration and Regulation) Amendment Rules, 2024 (Gujarat Government Gazette Extraordinary No. 74, 13 March 2024). Not an official form: the inspection team fills Annexure-12. Verify the current rules on clinicalestablishment.gipl.in. Template by MedStream · medstream.in · free to use and adapt.

# Operation theatres

Annexure-12, part IV(13).

## Minor operation theatre

| Checklist item | Yes / No | Evidence or note |
| --- | --- | --- |
| Space not less than 100 sq ft, adequate light and ventilation |  |  |
| Surgeries by a qualified RMP; qualified nurse allocated |  |  |
| Operation table, autoclave, minor surgical set, regional anaesthesia equipment |  |  |
| Emergency drug tray; anaesthesia apparatus with oxygen and nitrous oxide; suction; baby resuscitation set |  |  |
| Register of all surgeries done in the minor OT |  |  |

## Main operation theatre

| Checklist item | Yes / No | Evidence or note |
| --- | --- | --- |
| Space at least 150 sq ft, air-conditioned |  |  |
| Patient waiting area; a cot for post-operative recovery |  |  |
| Space for autoclave, sterilisation and scrubbing; running tap water in the scrub room |  |  |
| Arrangements for fumigation |  |  |
| OT swab culture at least once a month, with a register |  |  |
| Qualified anaesthetist or doctor trained in anaesthesia; surgeries by qualified doctors; OT nursing head |  |  |
| Operating table, anaesthesia apparatus, multipara monitor, suction (preferably two), autoclave, resuscitation equipment and drugs, defibrillator |  |  |
| Operation register as per Annexure-10 Part E |  |  |
| Biopsy reports entered in a register, where required |  |  |

Self-check built from Annexure-9 (minimum standards) and Annexure-12 (inspection checklist) of the Gujarat Clinical Establishments (Registration and Regulation) Amendment Rules, 2024 (Gujarat Government Gazette Extraordinary No. 74, 13 March 2024). Not an official form: the inspection team fills Annexure-12. Verify the current rules on clinicalestablishment.gipl.in. Template by MedStream · medstream.in · free to use and adapt.

# Medical records the inspector checks

Annexure-12, part IV(15), with Rules 14 and 15. The official table asks whether each record is kept electronically or manually.

## Records maintained in the hospital

| Record | Electronically | Manually | Who keeps it |
| --- | --- | --- | --- |
| Admission and discharge register |  |  |  |
| Case sheets |  |  |  |
| Referrals |  |  |  |
| Infectious and communicable disease register |  |  |  |
| Immunisation particulars |  |  |  |
| Family welfare services |  |  |  |
| Medico-legal records |  |  |  |
| Maternal death record |  |  |  |
| Infant death record |  |  |  |
| 1 to 5 years child death records |  |  |  |
| Any other record required by the government |  |  |  |

## How long to keep them

| OPD records | At least 2 years, electronically (Rule 15(3)) |
| --- | --- |
| IPD records | At least 5 years (Rule 15(3)) |
| Maternity: full record of the pregnancy, and a case record of each child born | At least 10 years (Annexure-12, part IV(3)) |
| Court, medico-legal or consumer forum cases | Until the case is finally disposed of (Rule 15(3)) |
| Staff names, addresses, qualifications and equipment | In electronic form; changes reported to the Authority half-yearly (Rule 14(b)) |

Self-check built from Annexure-9 (minimum standards) and Annexure-12 (inspection checklist) of the Gujarat Clinical Establishments (Registration and Regulation) Amendment Rules, 2024 (Gujarat Government Gazette Extraordinary No. 74, 13 March 2024). Not an official form: the inspection team fills Annexure-12. Verify the current rules on clinicalestablishment.gipl.in. Template by MedStream · medstream.in · free to use and adapt.