## Documents and steps
Before you apply for permanent registration
Gujarat Clinical Establishments Act 2021, sections 19 to 26, and Rule 17. Tick what is ready and note where the evidence is kept.
Certificates to upload on Annexure-1A, as applicable (item 17)
Certificate | Applies to us? (Yes / No) | Ready? (Yes / No) | Number and valid till | Where the original is kept
Fire safety NOC or certificate issued by the competent authority
Biomedical waste management certificate issued by GPCB
AERB authorisation (radiology)
Certificate under the Drugs and Cosmetics Act
Authorisation under the PC-PNDT Act, 1994
Registration under the ART (Regulation) Act, 2021
Registration under the Surrogacy (Regulation) Act, 2021
Blood bank licence or blood storage authorisation
5 to 10 photographs of the establishment from different angles
The steps to a permanent certificate
Step | What happens | Our date
Apply (s.19) | Permanent registration application on the portal (Annexure-1A) with the prescribed fee
Evidence (s.20) | Submit evidence of meeting the minimum standards (Annexure-9)
Public display (s.21) | The Authority displays the evidence for 30 days for objections
Objections (s.22) | Any objection is sent to you; you have 45 days to respond
Inspection (Rule 17) | Team intimates in advance, inspects premises, equipment and staff qualifications; report on Annexure-12 within a week
Order (s.24) | Allowed or disallowed within 30 days after the period; reasons recorded if disallowed
Certificate (s.25) | Valid five years; apply to renew within the six months before expiry
Self-check built from Annexure-9 (minimum standards) and Annexure-12 (inspection checklist) of the Gujarat Clinical Establishments (Registration and Regulation) Amendment Rules, 2024 (Gujarat Government Gazette Extraordinary No. 74, 13 March 2024). Not an official form: the inspection team fills Annexure-12. Verify the current rules on clinicalestablishment.gipl.in. Template by MedStream · medstream.in · free to use and adapt.

## Hospital
Hospital or nursing home: building, staff and services
Annexure-12, part IV (Hospital), with the Annexure-9 infection control audit. Yes / No as the inspector would ask it.
Building, wards and staff
Checklist item | Yes / No | Evidence or note
Waiting room with sufficient space for patients and attendants
Wards: adequate space, light and ventilation
Fan, cooler or AC in each room; one fan per two beds in a common ward
Toilets with adequate water, cleaned twice a day with antiseptic
Wards cleaned twice a day with antiseptic
Specialist doctor for each specialist service offered
One RMP for every 30 beds on duty, day and night (RMP on call up to 30 beds at night)
ICU, if any: one RMP physically present per 10 ICU beds, round the clock
Qualified nurses for the bed capacity as per Indian Nursing Council norms
More than 30 beds: third-party infection control audit every 3 months, report displayed (Annexure-9)
Services and general facilities
Checklist item | Yes / No | Evidence or note
Pharmacy, if any, follows government rules
Laboratory tests (other than urine albumin, sugar, Hb) done by a qualified technician
X-rays taken by a qualified technician
USG, CT, MRI, Doppler performed by a doctor only
Blood bank, if any, meets Government of India standards
50 or more beds: own ambulance with qualified driver, or an MoU
Kitchen, if any: cleaned daily, cooks medically examined, FSSAI followed
Biomedical waste segregated at the point of generation
Annexure-10 registers A to E kept
Medico-legal case records as per government guidelines
More than 100 beds: mortuary or freezer room
Potable and hot water supply
Bed sheets and linen changed daily
Fire safety certificate or NOC available
Names of RMPs and facilities displayed in the hospital
Security for patients and their belongings
Enough wheelchairs, trolleys and stretchers
Generator or UPS for essential services
Self-check built from Annexure-9 (minimum standards) and Annexure-12 (inspection checklist) of the Gujarat Clinical Establishments (Registration and Regulation) Amendment Rules, 2024 (Gujarat Government Gazette Extraordinary No. 74, 13 March 2024). Not an official form: the inspection team fills Annexure-12. Verify the current rules on clinicalestablishment.gipl.in. Template by MedStream · medstream.in · free to use and adapt.

## Labour room
Labour room
Annexure-12, part IV(12): for a hospital that maintains a labour room and conducts deliveries.
Room and staff
Checklist item | Yes / No | Evidence or note
Separate room to prepare the patient for delivery, with sufficient water
Labour room area 120 sq ft or more
Well ventilated, sufficient light
Space for the newborn with resuscitation
Deliveries conducted by: RMP / staff nurse / ANM (tick)
RMP on call for emergency or newborn resuscitation
Maternity hospital with regular deliveries: duty RMP round the clock
Paediatrician on call
Equipment, drugs and records (tick what is available)
Equipment | Available | Drug | Available | Record | Available
Labour table with lithotomy stand |  | Inj. methylergometrine |  | Birth register
Oxygen cylinder with mask |  | Inj. oxytocin |  | Birth intimation slip
P.V. tray |  | Inj. carboprost tromethamine |  | Case sheets and notes
Vacuum extractor or forceps set |  | Inj. magnesium sulphate |  | Register for babies and mothers (to prevent child changing)
Sterile cord clamp |  | Absorbable suture material
Suction apparatus |  | Inj. diazepam
Baby resuscitation set |  | 2% lignocaine
Baby warmer (a light may also do) |  | Inj. vitamin K
Inj. tetanus toxoid
IV fluids
Tab. misoprostol 200 mcg
Self-check built from Annexure-9 (minimum standards) and Annexure-12 (inspection checklist) of the Gujarat Clinical Establishments (Registration and Regulation) Amendment Rules, 2024 (Gujarat Government Gazette Extraordinary No. 74, 13 March 2024). Not an official form: the inspection team fills Annexure-12. Verify the current rules on clinicalestablishment.gipl.in. Template by MedStream · medstream.in · free to use and adapt.

## OT
Operation theatres
Annexure-12, part IV(13).
Minor operation theatre
Checklist item | Yes / No | Evidence or note
Space not less than 100 sq ft, adequate light and ventilation
Surgeries by a qualified RMP; qualified nurse allocated
Operation table, autoclave, minor surgical set, regional anaesthesia equipment
Emergency drug tray; anaesthesia apparatus with oxygen and nitrous oxide; suction; baby resuscitation set
Register of all surgeries done in the minor OT
Main operation theatre
Checklist item | Yes / No | Evidence or note
Space at least 150 sq ft, air-conditioned
Patient waiting area; a cot for post-operative recovery
Space for autoclave, sterilisation and scrubbing; running tap water in the scrub room
Arrangements for fumigation
OT swab culture at least once a month, with a register
Qualified anaesthetist or doctor trained in anaesthesia; surgeries by qualified doctors; OT nursing head
Operating table, anaesthesia apparatus, multipara monitor, suction (preferably two), autoclave, resuscitation equipment and drugs, defibrillator
Operation register as per Annexure-10 Part E
Biopsy reports entered in a register, where required
Self-check built from Annexure-9 (minimum standards) and Annexure-12 (inspection checklist) of the Gujarat Clinical Establishments (Registration and Regulation) Amendment Rules, 2024 (Gujarat Government Gazette Extraordinary No. 74, 13 March 2024). Not an official form: the inspection team fills Annexure-12. Verify the current rules on clinicalestablishment.gipl.in. Template by MedStream · medstream.in · free to use and adapt.

## Records
Medical records the inspector checks
Annexure-12, part IV(15), with Rules 14 and 15. The official table asks whether each record is kept electronically or manually.
Records maintained in the hospital
Record | Electronically | Manually | Who keeps it
Admission and discharge register
Case sheets
Referrals
Infectious and communicable disease register
Immunisation particulars
Family welfare services
Medico-legal records
Maternal death record
Infant death record
1 to 5 years child death records
Any other record required by the government
How long to keep them
OPD records | At least 2 years, electronically (Rule 15(3))
IPD records | At least 5 years (Rule 15(3))
Maternity: full record of the pregnancy, and a case record of each child born | At least 10 years (Annexure-12, part IV(3))
Court, medico-legal or consumer forum cases | Until the case is finally disposed of (Rule 15(3))
Staff names, addresses, qualifications and equipment | In electronic form; changes reported to the Authority half-yearly (Rule 14(b))
Self-check built from Annexure-9 (minimum standards) and Annexure-12 (inspection checklist) of the Gujarat Clinical Establishments (Registration and Regulation) Amendment Rules, 2024 (Gujarat Government Gazette Extraordinary No. 74, 13 March 2024). Not an official form: the inspection team fills Annexure-12. Verify the current rules on clinicalestablishment.gipl.in. Template by MedStream · medstream.in · free to use and adapt.